
Town of Farmersville
Required Construction Inspections for

1 & 2 Family Dwellings

(Including Additions & Alterations)

* Note to permit applicant:

It is your responsibility to request and schedule all inspections, including the final for Certificate of Occupancy/Completion.

** Schedule your inspections at least 24 hours in advance.

· House number clearly posted
· Site inspection prior to permit issuance

· Footing before pouring concrete

· Basement walls before pouring concrete

· Foundation before backfill

· Water line inspection prior to backfill

· Heating, ventilation, A/C before insulation, mechanical ventilation
· Plumbing before insulation

· Electric before insulation (see list)

· Framing before insulation

· Ice & water before roofing

· Solid fuel appliances before insulation – 3rd party inspection with documentation
· Insulation before enclosing, stamped plans indicating compliance with energy code and Res check

· Stamped truss certification if applicable

· Final inspection for certificate of occupancy/completion

· Temporary certificates of occupancy may be available (conditions permitting)

Please take note: Occupancy of a dwelling without a certificate of occupancy is unlawful. If caught, you may be ordered to vacate!

