Town of Farmersville
Building Code Enforcement

1 & 2 Family Dwellings

(Including Additions & Alterations)

Check List for certificate of Occupancy
Letter from Catt. Co. Health Department pass final inspection
Final Electrical Inspection  - 3rd party

Final inspection of solid fuel burning appliances  - 3rd party

Permanent certificate by builder/architect as required - Energy Conservation code R401.3

Air Leakage Report (blower door test) as required – Energy Conservation Code R402.4

Must pass Final Inspection to all applicable NYS Codes

Must Have visible address marker

Driveway, site work and grading complete

I, ___________________________________, have read and understand the steps involved in obtaining a building permit for a new build home.

Name




Address



Date

