## Information Sheet
Information and Instructions
Name your inventory as LSLI_NYPWSID#. For example: LSLI_NY1234567
Lead Service Line Inventory Template Workbook
• The Service Line Inventory Template is to be filled out with one row for each service line.
• Columns with headings in blue are required or mandatory entries to be considered complete.
• Headers with an ⓘ symbol will display additional information if clicked on.
• The options for all drop down response columns are listed below.
Inventory Summary Workbook
• Do not fill out Section III, "Summary of Inventory." The section will be automatically filled based on information provided in the LSL Template workbook.
Tabs | Description
Service Line Inventory Template | To be filled out with service line information
Inventory Summary Form | Summary of data from Service Line Inventory Worksheet
Public-side Service Line Information Keys
Lead Gooseneck, Pigtail or Connector Currently Present? | Current Public Side SL Material | Was Public SL Material Ever Previously Lead? | Public SL Material Verification Method | Public SL Size
Yes | Lead including lead-lined galvanized | Yes | Records | Upto 1"
No | Copper | No | Field Inspection | 1" < SL ≤ 1.5"
Unknown | Galvanized | Unknown | Excavation | 1.5" < SL ≤ 2"
| Plastic |  | Sequential Sampling | larger than 2"
| Known Other |  | Statistical Analysis/Predictive Model | unknown
| Unknown but could be lead |  | Other
| Unknown but unlikely lead |  | Not Verified
Unknown
Customer Side Service Line Information Keys
Customer SL Material | Customer SL Material Verification Method | Lead Solder Present? | Building Type | POU or POE Treatment Present? | Customer SL Size
Lead including lead-lined galvanized | Records | Yes | Single Family | Yes | Upto 1"
Copper | Field Inspection | No | Multi Family | No | 1" < SL ≤ 1.5"
Galvanized | Customer Identification with Photo or Other Verification | Unknown | School or Childcare | Unknown | 1.5" < SL ≤ 2"
Plastic | Excavation |  | Business |  | larger than 2"
Known Other | Sequential Sampling |  | Other including Multiuse |  | unknown
Unknown but could be lead | Statistical Analysis/Predictive Model
Unknown but unlikely lead | Other
Unknown | Not Verified
Entire Service Line Inventory Categories
SL Category
Lead
GSLRR
Non-Lead
Unknown - Lead Status Unknown

## Service Line Inventory Template
Street Address | Town | Zip Code | Lead Gooseneck, Pigtail or Connector Currently Present? | Current Public Side SL Material ⓘ | Was Public SL Material Ever Previously Lead? | Public SL Material Verification Method ⓘ | Public SL Installation or Replacement Date | Public SL Size | Customer SL Material ⓘ | Customer SL Material Verification Method ⓘ | Lead Solder Present? | Building Type | POU or POE Treatment Present? ⓘ | Customer SL Installation or Replacement Date | Customer SL Size | SL Category ⓘ | Note
9-11 Aber Street | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Not Verified |  |  | Unknown | Field Inspection | [5 empty] | Unknown
7A-7D Aber Street | Canaseraga (Burns) | 14822 |  | Copper | Unknown | Field Inspection |  |  | Unknown | Field Inspection |  | Single Family |  |  |  | Unknown | mobile home park
8 Aber Street | Canaseraga (Burns) | 14822 |  | Copper | Unknown | Field Inspection |  |  | Copper | Field Inspection |  | Single Family |  |  |  | Non-Lead
6 Aber Street | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Field Inspection |  |  | Known Other | Field Inspection | [5 empty] | Non-Lead
5 Aber Street | Canaseraga (Burns) | 14822 |  | Unknown | No | Field Inspection |  |  | Copper | Field Inspection | [5 empty] | Unknown
9-11 Bennett Street | Canaseraga (Burns) | 14822 |  | Known Other | No | Records |  |  | Galvanized | Field Inspection |  | Single Family |  | prior to 1972 |  | Non-Lead | PSL CTS from 2003 water project
16 Bennett Street | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Known Other | Field Inspection | [5 empty] | Non-Lead | PSL CTS from 2003 water project
17 Bennett Street | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Copper | Field Inspection |  | Single Family |  |  |  | Non-Lead | PSL CTS from 2003 water project
21 Bennett Street | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Galvanized | Field Inspection | [5 empty] | GSLRR | PSL CTS from 2003 water project
23 Bennett Street | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Unknown | Field Inspection |  | Single Family |  |  |  | Unknown | PSL CTS from 2003 water project
19 Bennett Street | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Copper | Field Inspection | [5 empty] | Non-Lead | PSL CTS from 2003 water project
20 Bennett Street | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Unknown | Field Inspection | [5 empty] | Unknown | PSL CTS from 2003 water project
15 Bennett Street | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Known Other | Field Inspection |  | Single Family |  | 2017-2018 |  | Non-Lead | PSL CTS from 2003 water project
24 Bennett Street | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Copper | Field Inspection |  | Single Family |  |  |  | Non-Lead | PSL CTS from 2003 water project
9 Clark Street | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Unknown | Field Inspection | [5 empty] | Unknown | PSL CTS from 2003 water project
13 Clark Street | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Unknown | Field Inspection | [5 empty] | Unknown | PSL CTS from 2003 water project
10 Clark Street | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Unknown | Field Inspection | [5 empty] | Unknown | PSL CTS from 2003 water project
1,3,5 Craig Street | Canaseraga (Burns) | 14822 | Unknown | Known Other | Unknown | Records |  |  | Galvanized | Field Inspection | Yes | Multi Family |  |  |  | GSLRR | PSL CTS from 2003 water project
2 Craig Street | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Unknown | Field Inspection | [5 empty] | Unknown | PSL CTS from 2003 water project
4 Depot Street | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
3 Depot Street | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Galvanized | Field Inspection |  | Single Family |  |  |  | GSLRR
6 Depot Street | Canaseraga (Burns) | 14822 |  | Galvanized | Unknown | Field Inspection |  |  | Copper | Field Inspection |  | Single Family |  |  |  | Non-Lead
7 Depot Street | Canaseraga (Burns) | 14822 |  | Galvanized | Unknown | Field Inspection |  |  | Known Other | Field Inspection |  | Single Family |  |  |  | Non-Lead
8 Depot Street | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
5 Depot Street | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
5 Elm Street | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
3 Jackson Street | Canaseraga (Burns) | 14822 |  | Galvanized | Unknown | Field Inspection |  |  | Copper | Field Inspection |  | Single Family |  |  |  | Non-Lead
9 Jackson Street | Canaseraga (Burns) | 14822 |  | Galvanized | Unknown | Field Inspection |  |  | Copper | Field Inspection |  | Single Family |  |  |  | Non-Lead
5 Jackson Street | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
8-10 Jackson Street | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown | No water hookup at 8
11 Jackson Street | Canaseraga (Burns) | 14822 |  | Copper | Unknown | Field Inspection |  |  | Copper | Field Inspection |  | Single Family |  |  |  | Non-Lead | guy passed away
7 Jackson Street | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
83 Main Street | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
60 Main Street | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
80 Main Street | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Not Verified |  |  | Galvanized | Not Verified | [5 empty] | GSLRR
37 Main Street | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Not Verified |  |  | Unknown | Not Verified | [5 empty] | Unknown
78 Main Street | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Not Verified |  |  | Unknown | Not Verified | [5 empty] | Unknown
8 Main Street | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Not Verified |  |  | Unknown | Not Verified | [5 empty] | Unknown
18-20 Main Street | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Not Verified |  |  | Unknown | Not Verified | [5 empty] | Unknown
10 Main Street (Village Office/Fire Dept.) | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Not Verified |  |  | Galvanized | Not Verified |  | Other including Multiuse |  |  |  | GSLRR
59 Main Street | Canaseraga (Burns) | 14822 |  | Copper | Unknown | Not Verified |  |  | Copper | Not Verified |  | Business |  |  |  | Non-Lead
54-58 Main Street | Canaseraga (Burns) | 14822 |  | Galvanized | No | Field Inspection |  |  | Galvanized | Field Inspection |  | Business |  |  |  | Non-Lead
76 Main Street | Canaseraga (Burns) | 14822 |  | Copper | Unknown | Field Inspection |  |  | Copper | Field Inspection |  |  |  | 10 years ago |  | Non-Lead
71 Main Street | Canaseraga (Burns) | 14822 |  | Plastic | No | Field Inspection |  |  | Plastic | Field Inspection |  | Single Family |  |  |  | Non-Lead
4 Main Street | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
16 Main Street | Canaseraga (Burns) | 14822 |  | Copper | Unknown | Field Inspection |  |  | Copper | Field Inspection | [5 empty] | Non-Lead
90 Main Street | Canaseraga (Burns) | 14822 |  | Unknown | No | Field Inspection |  |  | Galvanized | Field Inspection | [5 empty] | GSLRR
94 & 96 Main Street | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
14 Main Street | Canaseraga (Burns) | 14822 |  | Plastic | Yes | Field Inspection |  |  | Copper | Field Inspection |  |  |  | 2000 |  | Non-Lead | Previously LLGSL
75 Main St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
55-57 Main St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
70 Main St. | Canaseraga (Burns) | 14822 |  | Galvanized | Unknown | Field Inspection |  |  | Galvanized | Field Inspection |  | Single Family |  |  |  | GSLRR
53 Main St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
23 Main St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
63 & 65 Main St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
68 Main St. | Canaseraga (Burns) | 14822 |  | Copper | Unknown | Field Inspection |  |  | Copper | Field Inspection |  | Single Family |  |  |  | Non-Lead
30 Main St. Apts 1-9 | Canaseraga (Burns) | 14822 |  | Copper | No | Field Inspection |  |  | Copper | Field Inspection |  | Multi Family |  |  |  | Non-Lead
69 Main St. Apts A-H | Canaseraga (Burns) | 14822 |  | Plastic | No | Field Inspection |  |  | Known Other | Field Inspection |  | Multi Family |  |  |  | Non-Lead
81 Main St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
74 Main St. | Canaseraga (Burns) | 14822 |  | Copper | Unknown | Field Inspection |  |  | Copper | Field Inspection |  | Single Family |  |  |  | Non-Lead
67 Main St. | Canaseraga (Burns) | 14822 |  | Copper | Unknown | Field Inspection |  |  | Copper | Field Inspection |  | Single Family |  |  |  | Non-Lead
79 Main St. | Canaseraga (Burns) | 14822 |  | Known Other | No | Field Inspection |  |  | Known Other | Field Inspection | [5 empty] | Non-Lead | PEX
91 Main St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
12 Main St. | Canaseraga (Burns) | 14822 |  | Copper | Unknown | Field Inspection |  |  | Plastic | Field Inspection |  | Single Family |  |  |  | Non-Lead
35 Main St. | Canaseraga (Burns) | 14822 |  | Unknown | No | Field Inspection |  |  | Galvanized | Field Inspection | [5 empty] | GSLRR
72 Main St. | Canaseraga (Burns) | 14822 |  | Known Other | No | Field Inspection |  |  | Known Other | Field Inspection | [5 empty] | Non-Lead | PVC
73 Main St. | Canaseraga (Burns) | 14822 |  | Copper | Unknown | Field Inspection |  |  | Copper | Field Inspection |  | Single Family |  |  |  | Non-Lead
31 Main St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
64 Main St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Field Inspection |  |  | Copper | Field Inspection | [5 empty] | Non-Lead
43 Main St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Field Inspection |  |  | Copper | Field Inspection | [5 empty] | Non-Lead
41 Main St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
34 Main St. | Canaseraga (Burns) | 14822 |  | Copper | No | Field Inspection |  |  | Copper | Field Inspection |  | Business |  |  |  | Non-Lead
38-40 Main St. | Canaseraga (Burns) | 14822 |  | Galvanized | Unknown | Field Inspection |  |  | Copper | Field Inspection |  | Multi Family |  | 2025 |  | Non-Lead
36 Main St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
24 Main St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
82 Main St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
87 Main St. | Canaseraga (Burns) | 14822 |  | Copper | Unknown | Field Inspection |  |  | Copper | Field Inspection | [5 empty] | Non-Lead
33 Main St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
22 Main St. (Village Park & Gazebo) | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
46-48 Main St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown | No water hookup
49-51 Main St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown | No water hookup
39 Main St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
5-9 Main St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection |  | Business |  |  |  | Unknown | out of business/empty lot
77 Main St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
4 Meadowbrook Dr. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
10 Meadowbrook Dr. | Canaseraga (Burns) | 14822 |  | Galvanized | Unknown | Field Inspection |  |  | Galvanized | Field Inspection |  | Single Family |  |  |  | GSLRR
20 Meadowbrook Dr. | Canaseraga (Burns) | 14822 |  | Galvanized | Unknown | Field Inspection |  |  | Copper | Field Inspection |  | Single Family |  |  |  | Non-Lead
6 Meadowbrook Dr. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
28 Meadowbrook Dr. | Canaseraga (Burns) | 14822 |  | Galvanized | Unknown | Field Inspection |  |  | Galvanized | Field Inspection | [5 empty] | GSLRR
12 Meadowbrook Dr. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
24 Meadowbrook Dr. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
25 Meadowbrook Dr. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
14-16 Meadowbrook Dr. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
8 Meadowbrook Dr. | Canaseraga (Burns) | 14822 |  | Galvanized | Unknown | Field Inspection |  |  | Galvanized | Field Inspection |  | Single Family |  |  |  | GSLRR
22 Meadowbrook Dr. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
19 Mill St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Galvanized | Field Inspection |  | Single Family |  | 1986/1988 |  | GSLRR | PSL CTS from 2003 water project
11 Mill St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Unknown | Field Inspection | [5 empty] | Unknown | PSL CTS from 2003 water project
2 Mill St. | Canaseraga (Burns) | 14822 |  | Known Other | No | Records |  |  | Copper | Field Inspection |  | Single Family |  |  |  | Non-Lead | PSL CTS from 2003 water project
59 Mill St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Unknown | Field Inspection | [5 empty] | Unknown | PSL CTS from 2003 water project
55 Mill St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Unknown | Field Inspection | [5 empty] | Unknown | no water hookup
31 Mill St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Unknown | Field Inspection | [5 empty] | Unknown | no contact multiple attempts
16 Mill St. | Canaseraga (Burns) | 14822 |  | Known Other | No | Records |  |  | Copper | Field Inspection |  | Single Family |  | 1988/1989 all copper |  | Non-Lead | PSL CTS from 2003 water project
43 Mill St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Unknown | Field Inspection | [5 empty] | Unknown | PSL CTS from 2003 water project
47 Mill St. | Canaseraga (Burns) | 14822 |  | Lead including lead-lined galvanized | Yes | Not Verified |  |  | Known Other | Field Inspection |  | Single Family |  | never |  | Lead | PSL CTS from 2003 water project- VERIFY
4 Mill St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Unknown | Field Inspection | [5 empty] | Unknown | PSL CTS from 2003 water project
35 Mill St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Unknown | Field Inspection | [5 empty] | Unknown | PSL CTS from 2003 water project
23 Mill St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Copper | Field Inspection | [5 empty] | Non-Lead | PSL CTS from 2003 water project
27 Mill St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Copper | Field Inspection |  | Single Family |  |  |  | Non-Lead | PSL CTS from 2003 water project
53 Mill St. | Canaseraga (Burns) | 14822 |  | Known Other | No | Records |  |  | Known Other | Field Inspection |  | Single Family |  | built 1989 |  | Non-Lead | PSL CTS from 2003 water project
41 Mill St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Copper | Field Inspection |  | Single Family |  |  |  | Non-Lead | PSL CTS from 2003 water project
7 Mill St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Copper | Field Inspection |  | Single Family |  |  |  | Non-Lead | PSL CTS from 2003 water project
6 Mill St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Unknown | Field Inspection | [5 empty] | Unknown | empty lot
51 Mill St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Copper | Field Inspection |  | Single Family |  |  |  | Non-Lead | PSL CTS from 2003 water project
15 Mill St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Unknown | Field Inspection | [5 empty] | Unknown | multiple attempts
17 Mill St. | Canaseraga (Burns) | 14822 | No | Known Other | Unknown | Records |  |  | Copper | Field Inspection |  | Single Family |  | 20 years |  | Non-Lead | PSL CTS from 2003 water project
33 Mill St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Unknown | Field Inspection | [5 empty] | Unknown | empty lot
13 Mill St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Unknown | Field Inspection | [5 empty] | Unknown | PSL CTS from 2003 water project
61 Mill St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Unknown | Field Inspection | [5 empty] | Unknown | PSL CTS from 2003 water project
21 Mill St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Unknown | Field Inspection | [5 empty] | Unknown | no access
9 Mill St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Unknown | Field Inspection | [5 empty] | Unknown | PSL CTS from 2003 water project
39 Mill St. Apts A-C | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Unknown | Field Inspection | [5 empty] | Unknown | PSL CTS from 2003 water project
49 Mill St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Known Other | Field Inspection |  | Single Family |  |  |  | Non-Lead | PSL CTS from 2003 water project
8 Mill St. | Canaseraga (Burns) | 14822 |  | Known Other | No | Records |  |  | Copper | Field Inspection |  | Single Family |  | 88-89 all copper |  | Non-Lead | PSL CTS from 2003 water project
29 Mill St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Unknown | Field Inspection | [5 empty] | Unknown | PSL CTS from 2003 water project
37 Mill St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Known Other | Field Inspection |  | Single Family |  |  |  | Non-Lead | PSL CTS from 2003 water project
10 Miller St. | Canaseraga (Burns) | 14822 |  | Unknown |  | Field Inspection |  |  | Unknown | Field Inspection
4 Miller St. | Canaseraga (Burns) | 14822 |  | Plastic | No | Field Inspection |  |  | Plastic | Field Inspection |  | Single Family |  | 1999 |  | Non-Lead
14 Miller St. | Canaseraga (Burns) | 14822 |  | Plastic | No | Field Inspection |  |  | Plastic | Field Inspection |  | Single Family |  |  |  | Non-Lead
5-7 Miller St. | Canaseraga (Burns) | 14822 |  | Unknown | No | Field Inspection |  |  | Plastic | Field Inspection |  | Single Family |  |  |  | Unknown
21 North Church St. | Canaseraga (Burns) | 14822 |  | Copper | No | Field Inspection |  |  | Known Other | Field Inspection |  | Single Family |  |  |  | Non-Lead
Field Inspection
15/15A & 17 North Church St. | Canaseraga (Burns) | 14822 |  | Unknown but unlikely lead | Unknown | Field Inspection |  |  | Galvanized |  |  | Multi Family |  | 2015 |  | GSLRR
24 North Church St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
37-39 North Church St. | Canaseraga (Burns) | 14822 |  | Galvanized | No | Field Inspection |  |  | Copper | Field Inspection |  | Single Family |  |  |  | Non-Lead
53 North Church St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
46 North Church St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown | condemned building
23 North Church St. | Canaseraga (Burns) | 14822 |  | Galvanized | No | Field Inspection |  |  | Known Other | Field Inspection |  | Single Family |  |  |  | Non-Lead
57 North Church St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
56 North Church St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
38 North Church St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
50-52 North Church St. | Canaseraga (Burns) | 14822 |  | Copper | No | Field Inspection |  |  | Known Other | Field Inspection |  | Single Family |  | approx 1994 |  | Non-Lead
45 North Church St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
36 North Church St. | Canaseraga (Burns) | 14822 |  | Galvanized | Unknown | Field Inspection |  |  | Known Other | Field Inspection | [5 empty] | Non-Lead
26 North Church St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
35 North Church St. | Canaseraga (Burns) | 14822 |  | Plastic | Unknown | Field Inspection |  |  | Known Other | Field Inspection |  |  |  | 2024 |  | Non-Lead
40 North Church St. | Canaseraga (Burns) | 14822 |  | Galvanized | Unknown | Field Inspection |  |  | Known Other | Field Inspection |  | Single Family |  |  |  | Non-Lead
60-62 North Church St. | Canaseraga (Burns) | 14822 |  | Copper | Unknown | Field Inspection |  |  | Copper | Field Inspection |  | Single Family |  |  |  | Non-Lead
19 North Church St. | Canaseraga (Burns) | 14822 |  | Galvanized | No | Field Inspection |  |  | Known Other | Field Inspection |  | Single Family |  |  |  | Non-Lead
13 North Church St. | Canaseraga (Burns) | 14822 | Unknown | Galvanized | No | Field Inspection |  |  | Galvanized | Field Inspection | [5 empty] | Non-Lead
11 North Church St. | Canaseraga (Burns) | 14822 | Unknown | Galvanized | No | Field Inspection |  |  | Galvanized | Field Inspection | [5 empty] | Non-Lead
29 North Church St. | Canaseraga (Burns) | 14822 |  | Galvanized | Unknown | Field Inspection |  |  | Known Other | Field Inspection |  | Other including Multiuse |  |  |  | Non-Lead | Church
42 North Church St. | Canaseraga (Burns) | 14822 |  | Galvanized | Unknown | Field Inspection |  |  | Copper | Field Inspection |  | Single Family |  |  |  | Non-Lead
30 North Church St. | Canaseraga (Burns) | 14822 |  | Galvanized | Unknown | Field Inspection |  |  | Galvanized | Field Inspection | [5 empty] | GSLRR
48 North Church St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
28 North Church St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Copper | Field Inspection |  | Single Family |  | 2022 |  | Unknown
32 North Church St. | Canaseraga (Burns) | 14822 |  | Galvanized | Unknown | Field Inspection |  |  | Known Other | Field Inspection | [5 empty] | Non-Lead
22 North Church St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Field Inspection |  |  | Copper | Customer Identification with Photo or Other Verification |  | Single Family |  | 2019-2020 |  | Non-Lead
59 North Church St. | Canaseraga (Burns) | 14822 | No | Copper | No | Field Inspection | 1970? |  | Plastic | Field Inspection | Yes | Single Family |  | 1970? |  | Non-Lead
43 North Church St. | Canaseraga (Burns) | 14822 | No | Copper | Unknown | Field Inspection | 2005 |  | Plastic | Field Inspection | No | Single Family |  | 2005 |  | Non-Lead
47 North Church St. | Canaseraga (Burns) | 14822 |  | Copper | No | Field Inspection |  |  | Copper | Field Inspection |  | Single Family |  | 2006 |  | Non-Lead
55 North Church St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Plastic | Field Inspection | [5 empty] | Unknown
61 North Church St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
12 North Church St. | Canaseraga (Burns) | 14822 |  | Copper | No | Field Inspection |  |  | Copper | Field Inspection |  | Single Family |  |  |  | Non-Lead
33 North Church St. | Canaseraga (Burns) | 14822 |  | Galvanized | Unknown | Field Inspection |  |  | Copper | Field Inspection | [5 empty] | Non-Lead
51 North Church St. | Canaseraga (Burns) | 14822 |  | Copper | Unknown | Field Inspection | approx 1994 |  | Known Other | Field Inspection |  | Single Family |  |  |  | Non-Lead
20 North St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
17 North St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Field Inspection |  |  | Copper | Field Inspection |  | Single Family |  |  |  | Non-Lead | PSL CTS from 2003 water project
19 North St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Field Inspection |  |  | Copper | Field Inspection | [5 empty] | Non-Lead | PSL CTS from 2003 water project
23 North St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
22-24 North St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
3 North St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Copper | Field Inspection |  | Single Family |  |  |  | Non-Lead | PSL CTS from 2003 water project
9 North St. | Canaseraga (Burns) | 14822 |  | Known Other | No | Records |  |  | Copper | Field Inspection |  | Single Family |  |  |  | Non-Lead | PSL CTS from 2003 water project
11 North St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Copper | Field Inspection |  | Single Family |  |  |  | Non-Lead | PSL CTS from 2003 water project
15 North St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Copper | Field Inspection |  | Single Family |  |  |  | Non-Lead | PSL CTS from 2003 water project
7 North St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Galvanized | Field Inspection |  | Single Family |  |  |  | GSLRR | PSL CTS from 2003 water project
5 North St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Unknown | Field Inspection | [5 empty] | Unknown | PSL CTS from 2003 water project
8 North St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Copper | Field Inspection | [5 empty] | Non-Lead | PSL CTS from 2003 water project
19 North St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Copper | Field Inspection |  | Single Family |  |  |  | Non-Lead | PSL CTS from 2003 water project
6 North St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Unknown | Field Inspection | [5 empty] | Unknown | PSL CTS from 2003 water project
18 North St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Unknown | Field Inspection | [5 empty] | Unknown | PSL CTS from 2003 water project
10 North St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Copper | Field Inspection | [5 empty] | Non-Lead | PSL CTS from 2003 water project
25 North St. | Canaseraga (Burns) | 14822 |  | Plastic | Unknown | Field Inspection |  |  | Copper | Field Inspection |  | Single Family |  |  |  | Non-Lead
12 North St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Unknown | Field Inspection | [5 empty] | Unknown | PSL CTS from 2003 water project
11 Potomac Ave. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
6-8 Potomac Ave. | Canaseraga (Burns) | 14822 |  | Copper | Unknown | Field Inspection |  |  | Copper | Field Inspection |  | Single Family |  |  |  | Non-Lead
11 Pratt St. | Canaseraga (Burns) | 14822 |  | Plastic | Unknown | Field Inspection |  |  | Plastic | Field Inspection |  | Business |  |  |  | Non-Lead
20 Pratt St. | Canaseraga (Burns) | 14822 |  | Copper | Unknown | Field Inspection |  |  | Known Other | Field Inspection |  | Other including Multiuse |  |  |  | Non-Lead
12 Pratt St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
15 Pratt St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
14 Pratt St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
13 Pratt St. | Canaseraga (Burns) | 14822 | Yes | Galvanized | Yes | Field Inspection |  |  | Plastic | Field Inspection |  | Single Family |  |  |  | Non-Lead
9 Pratt St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
16 Pratt St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
22-24 Pratt St. | Canaseraga (Burns) | 14822 |  | Copper | Unknown | Field Inspection |  |  | Copper | Field Inspection |  | Single Family |  |  |  | Non-Lead
17 Pratt St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
10 Pratt St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
19 River St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Field Inspection |  |  | Plastic | Field Inspection | [5 empty] | Non-Lead | PSL CTS from 2003 water project
32 & 44 River St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown | PSL CTS from 2003 water project
3 River St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Field Inspection |  |  | Known Other | Field Inspection | [5 empty] | Non-Lead | PSL CTS from 2003 water project
35 River St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Field Inspection |  |  | Copper | Field Inspection | [5 empty] | Non-Lead | PSL CTS from 2003 water project
12 River St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown | PSL CTS from 2003 water project
40 River St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Field Inspection |  |  | Plastic | Field Inspection | [5 empty] | Non-Lead | PSL CTS from 2003 water project
33 River St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown | PSL CTS from 2003 water project
39 River St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown | PSL CTS from 2003 water project
9 River St. | Canaseraga (Burns) | 14822 |  | Known Other | Yes | Field Inspection |  |  | Plastic | Field Inspection |  | Single Family |  |  |  | Non-Lead | PSL CTS from 2003 water project
6 River St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown | PSL CTS from 2003 water project
25 River St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown | PSL CTS from 2003 water project
14 River St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown | PSL CTS from 2003 water project
28 River St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Field Inspection |  |  | Copper | Field Inspection |  | Single Family |  |  |  | Non-Lead | PSL CTS from 2003 water project
11 River St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown | PSL CTS from 2003 water project
22 River St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Field Inspection |  |  | Plastic | Field Inspection |  | Single Family |  | 2020? |  | Non-Lead | PSL CTS from 2003 water project
16 River St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Field Inspection |  |  | Copper | Field Inspection | No | Single Family |  |  |  | Non-Lead | PSL CTS from 2003 water project
8 River St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Field Inspection |  |  | Known Other | Field Inspection | Yes | Single Family |  | CSL 2013 |  | Non-Lead | PSL CTS from 2003 water project
10 River St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown | PSL CTS from 2003 water project
26 River St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown | PSL CTS from 2003 water project
5 River St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown | PSL CTS from 2003 water project
29 River St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown | PSL CTS from 2003 water project
27 South Church St. | Canaseraga (Burns) | 14822 |  | Galvanized | Unknown | Field Inspection |  |  | Copper | Field Inspection |  | Single Family |  |  |  | Non-Lead
57 South Church St. | Canaseraga (Burns) | 14822 |  | Copper | No | Field Inspection |  |  | Copper | Field Inspection | [5 empty] | Non-Lead
45 South Church St. | Canaseraga (Burns) | 14822 |  | Copper | Unknown | Field Inspection |  |  | Plastic | Field Inspection |  | Single Family |  | replaced in 80's |  | Non-Lead
14 South Church St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
21 South Church St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Copper | Field Inspection |  | Single Family |  |  |  | Unknown
49 South Church St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
24 South Church St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
38-40 South Church St. | Canaseraga (Burns) | 14822 |  | Copper | Unknown | Field Inspection |  |  | Copper | Field Inspection | [5 empty] | Non-Lead
35 South Church St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
19 South Church St. | Canaseraga (Burns) | 14822 |  | Galvanized | Unknown | Field Inspection |  |  | Copper | Field Inspection |  | Single Family |  | 2000's |  | Non-Lead
39 South Church St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
23 South Church St. | Canaseraga (Burns) | 14822 |  | Galvanized | Unknown | Field Inspection |  |  | Copper | Field Inspection |  | Single Family |  |  |  | Non-Lead
46 South Church St. | Canaseraga (Burns) | 14822 |  | Copper | Unknown | Field Inspection |  |  | Copper | Field Inspection | [5 empty] | Non-Lead | abandoned trailer
29 South Church St. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
25 South Church St. | Canaseraga (Burns) | 14822 |  | Copper | Unknown | Field Inspection |  |  | Copper | Field Inspection |  | Single Family |  |  |  | Non-Lead
2 Spring St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Unknown | Field Inspection | [5 empty] | Unknown | PSL CTS from 2003 water project
8 Spring St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Unknown | Field Inspection | [5 empty] | Unknown | PSL CTS from 2003 water project
6 Spring St. | Canaseraga (Burns) | 14822 |  | Known Other | No | Records |  |  | Copper | Field Inspection |  | Single Family |  | Approx 2015 |  | Non-Lead | PSL CTS from 2003 water project
10 Spring St. | Canaseraga (Burns) | 14822 |  | Known Other | Unknown | Records |  |  | Unknown | Field Inspection | [5 empty] | Unknown | PSL CTS from 2003 water project
11532 White Rd. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown | Field Inspection |  |  | Unknown | Field Inspection | [5 empty] | Unknown
11530 White Rd. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown |  |  |  | Unknown | Field Inspection | [5 empty] | Unknown
11576 White Rd. | Canaseraga (Burns) | 14822 |  | Unknown but unlikely lead | Unknown | Not Verified |  |  | Unknown but unlikely lead | Field Inspection |  | Single Family |  |  |  | Unknown
11581 White Rd. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown |  |  |  | Unknown | Field Inspection | [5 empty] | Unknown
11644 White Rd. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown |  |  |  | Unknown | Field Inspection | [5 empty] | Unknown
11584 White Rd. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown |  |  |  | Unknown | Field Inspection | [5 empty] | Unknown
11586 White Rd. | Canaseraga (Burns) | 14822 |  | Unknown | Unknown |  |  |  | Unknown | Field Inspection | [5 empty] | Unknown
6 Pratt St. | Canaseraga (Burns) | 14822 |  | Copper | Unknown | Field Inspection |  |  | Copper | Field Inspection |  | Single Family |  | 10+ years |  | Non-Lead
18 Pratt St. | Canaseraga (Burns) | 14822 |  | Copper | Unknown | Field Inspection |  |  | Plastic | Field Inspection |  | Single Family |  |  |  | Non-Lead
10851 County Rd. 13A | Canaseraga (Burns) | 14822 |  | Copper | Unknown | Field Inspection |  |  | Unknown but unlikely lead | Field Inspection |  | Single Family |  |  |  | Unknown
10856 County Rd. 13A | Canaseraga (Burns) | 14822 |  | Unknown | Unknown |  |  |  | Unknown | Field Inspection | [5 empty] | Unknown
10864 County Rd. 13A | Canaseraga (Burns) | 14822 |  | Unknown | Unknown |  |  |  | Unknown | Field Inspection | [5 empty] | Unknown
10891 County Rd. 13A | Canaseraga (Burns) | 14822 |  | Copper | Unknown | Field Inspection |  |  | Copper | Field Inspection |  | Single Family |  | last few years |  | Non-Lead
10892 County Rd. 13A | Canaseraga (Burns) | 14822 |  | Unknown | Unknown |  |  |  | Unknown | Field Inspection |  | Single Family |  |  |  | Unknown
18 River St. | Canaseraga (Burns) | 14822 | Unknown | Copper | Unknown | Field Inspection |  |  | Copper | Field Inspection | Yes | Single Family |  |  |  | Non-Lead
3 Main St. (DPW) | Canaseraga (Burns) | 14822 |  | Galvanized | Unknown | Field Inspection |  |  | Copper | Field Inspection |  | Other including Multiuse |  |  |  | Non-Lead

## Inventory Summary
Summary of Lead Service Line Inventory
I. System Information
Water System Name | Village of Canaseraga
PWS ID Number | NY0200316
II. Contact Information for Owner / Licensed Operator of Record Completing the Form
Contact Name |  | Duane Gates
Contact Phone Number |  | 585-944-2136
Contact Email Address |  | dgates@cookproperties.com
III. Summary of Inventory
Total Number of Service Lines in the Distribution System | [5 empty] | 250
Total Number of Identified Service Lines | [5 empty] | 123
Total Number of Lead Service Lines | [5 empty] | 1
Total Number of GSLRR | [5 empty] | 15
Total Number of Non-LSL | [5 empty] | 107
Total Number of Unknown Service Lines | [5 empty] | 127
Service Lines |  | Lead | GSL or GSLRR |  | Non-Lead |  | Unknown
PWS - Side Service Lines |  | 1 | 28 | GSL | 133 |  | 89
Customer - Side Service Lines |  | 0 | 19 | GSL | 109 |  | 123
Total Number of Service Lines in the Distribution System |  | 1 | 15 | GSLRR | 107 |  | 127
Service Line Identification Methods
Identification Methods |  |  |  | PWS- Side SLs |  | Customer-Side SLs
Historical Records |  |  |  | 59 |  | 0
Field Inspection |  |  |  | 174 |  | 243
Customer Identification with Photo or other Verification |  |  |  | NA |  | 1
Excavation |  |  |  | 0 |  | 0
Sequential Sampling |  |  |  | 0 |  | 0
Statistical Analysis/Predictive Model |  |  |  | 0 |  | 0
IV. Inventory Availability - The inventory must be available to public
If 50,000 customers or greater: Posting the inventory online water system's website. |  |  |  | Address:
If under 50,000 customers: Explain how to access the inventory |  |  |  | www.canaseraga.gov LSLI will be accessible under "forms & publications"
V. Certifications
By submitting this form, I have verified and certify the information listed in this form is true and accurate to the best of my knowledge and belief.
Duane Gates |  |  | Water & Wastewater Operator |  |  |  |  | 2025-08-26
| Name |  |  |  | Title |  |  | Date