


This is a notification that the water distribution system of Great Valley Water District No. 3 in Bonne Val is composed of all Non-Lead water service lines.

You are receiving this notification regarding the findings of the Lead Service Line Inventory for Great Valley Water District No. 3. When the Environmental Protection Agency (EPA) implemented the Lead and Copper Rule Revisions the NYSDOH began a Lead Service Line Replacement Program (LSLRP) which includes as a first step a Lead Service Line Inventory (LSLI). The purpose of this inventory is to identify known lead service lines and potentially lead service lines because of the health concerns associated with ingesting lead contaminated drinking water. No lead service lines were found in the Great Valley Water District No. 3.  
To build the LSLI the first step was identifying what water service lines are relevant and necessary to be included. The relevant service lines were organized by address and then a data gathering phase was conducted to identify the materials for each service line. Material options for each service line within the LSLI template include lead, copper, galvanized, plastic, known other, unknown but could be lead, unknown but unlikely lead, and unknown. Any material specified within the NYSDOH LSLI must also be verified.  The methods and sources to identify/verify service line materials within the inventory include records, field inspections, customer identification, excavation, sequential sampling, and statistical analysis/predictive modeling. Each verification method has guidelines and checks to ensure the data gathered is accurate. 
The main method of verification used for the Town of Great Valley Water District No. 3 was the review of record drawings. Any plans with the material of the water service specified were used at face value. Dates were noted to compare to the 1986 Safe Drinking Water amendments passed by Congress. This banned lead pipes, flux, or solder within the public water service lines which deliver water to customers. Record drawings dated after 1990 were considered to use non-lead materials for the water service lines. Plans within the year range of 1986-1989 were scrutinized and crosschecked with newer record drawings unless a specific material was called out on the plans. The most recent water system improvements project was the 2018 Town of Great Valley Water District No. 3 Piping Modifications. 
The material of all current water service lines within the Great Valley Water District No. 3 have been identified as 100% confirmed Non-lead service lines. We thank you for assisting in our efforts to improve the quality of life within our water districts by providing clean and safe drinking water.  

